20:42:04:04.02.  Microdermabrasion machine requirements. A microdermabrasion machine:

(1) Must be specifically manufactured and labeled for use in esthetic services;

(2)  May not be modified;

(3)  That uses a crystal or corundum product shall include a closed-loop vacuum system that uses a tissue retention device or a built in cannister with filter;

(4)  Must be kept in a clean, disinfected, and safe manner; and

(5)  May only be used in accordance with specific manufacturer directions that do not result in the removal of the epidermis beyond the stratum corneum.

Source: 29 SDR 176, effective July 1, 2003; 32 SDR 32, effective August 29, 2005; 39 SDR 129, effective January 28, 2013; 46 SDR 46, effective October 3, 2019.

General Authority: SDCL 36-15-13(4)(5).

Law Implemented: SDCL 36-15-13(4)(5).