12:11:02:01.  Premises. The plant area and surrounding shall be kept clean, orderly, and free from refuse and rubbish, smoke, dust and air pollution, and strong or foul odors. A drainage system shall be provided for rapid drainage of all water from plant buildings including surface water around the plant and on the premises.

Source: SL 1975, ch 16, § 1; 12 SDR 128, 12 SDR 154, effective July 1, 1986.

General Authority: SDCL 39-8-4.

Law Implemented: SDCL 39-8-4.