12:11:02:17.  Cleaned-in-place method of cleaning equipment. Cleaned-in-place cleaning may be used only on equipment and pipeline systems that are designed and engineered for that purpose. Installation and cleaning procedures must be in accordance with the 3-A Sanitary Standards and Accepted Practices for permanently installed sanitary product pipelines and cleaning systems. An outline of the cleaning procedures to be followed must be posted near the cleaned-in-place equipment.

Source: SL 1975, ch 16, § 1; 12 SDR 102, effective December 25, 1985; 12 SDR 128, 12 SDR 154, effective July 1, 1986; 32 SDR 203, effective June 6, 2006; 46 SDR 46, effective October 8, 2019.

General Authority: SDCL 39-8-4.

Law Implemented: SDCL 39-8-4.