44:02:07:69.  Handwashing lavatory supplies. Each handwashing lavatory must be provided with the following:

(1)  A supply of hand cleaning liquid, powder, or bar soap;

(2)  Individual disposable towels, a continuous towel system that supplies the user with a clean towel, or a heated-air hand drying device; and

(3)  A waste receptacle if individual disposable towels are provided.

Source: 23 SDR 195, effective May 26, 1997.

General Authority: SDCL 34-1-17, 34-18-22.

Law Implemented: SDCL 34-18-22, 34-18-25.