44:02:07:71.  Service/janitor's sink. At least one service sink or curbed cleaning facility equipped with a floor drain must be provided and conveniently located for the cleaning of mops or similar wet floor cleaning tools and for the disposal of mop water and similar liquid waste.

Source: 23 SDR 195, effective May 26, 1997.

General Authority: SDCL 34-1-17, 34-18-22.

Law Implemented: SDCL 34-18-22, 34-18-25.

Cross-Reference: State Plumbing Code, art 20:54.