44:02:07:72.  Toilet facilities. At least one toilet, but not fewer than the number of toilets required by law must be provided. Toilet facilities must meet the following requirements:

(1)  A toilet room located on the premises must be completely enclosed and provided with a tight-fitting and self-closing door;

(2)  Toilet rooms must be conveniently located and accessible to employees during all hours of operation;

(3)  Toilet rooms and fixtures must be kept clean and in good repair. A supply of toilet tissue must be provided at each toilet at all times. Easily cleanable waste receptacles must be provided for refuse materials. Toilet rooms used by women must have a least one covered waste receptacle; and

(4)  Each toilet room must be provided with mechanical ventilation of sufficient capacity to effectively remove odors and vapors from the room.

Source: 23 SDR 195, effective May 26, 1997.

General Authority: SDCL 34-1-17, 34-18-22.

Law Implemented: SDCL 34-18-22, 34-18-25.

Cross-Reference: State Plumbing Code, art 20:54.