44:03:01:11.02.  Installation requirements of all radiation equipment. No person may make, sell, lease, transfer, lend, assemble, or install any radiation machine or any supplies used in connection with such a machine unless such supplies and equipment meet the requirements of this chapter when placed in operation.

Source: 26 SDR 96, effective January 23, 2000.

General Authority: SDCL 34-21-15.

Law Implemented: SDCL 34-21-4.1, 34-21-17.