44:03:01:12.02.  Surveys of X-radiation producing facilities and X-radiation equipment. Any new X-radiation producing facility and any existing X-radiation producing facility shall have a radiation exposure survey by a qualified expert or the department. The survey must be performed after any change in the facility location or equipment repair that might cause a significant increase in radiation hazard. The licensee shall obtain a written report of the survey from the qualified expert and transmit a copy of the report to the department within thirty days of receipt of the report. The survey and department report must indicate all instances where the equipment installation, in the opinion of the qualified expert or department, is in violation of this chapter.

Source: 26 SDR 96, effective January 23, 2000; 50 SDR 41, effective October 11, 2023.

General Authority: SDCL 34-21-15.

Law Implemented: SDCL 34-21-4.1, 34-21-15.