61:15:01:04.  Amendments to the International Fire Code. Amendments to the International Fire Code, 2015 edition, are as follows:

(1)  Where the International Fire Code references NFPA 10, "Standards for Portable Fire Extinguishers," the 2013 edition is the standard to be used;

(2)  Where the International Fire Code references NFPA 72, "National Fire Alarm Code," the 2013 edition is the standard to be used;

(3)  Where International Fire Code references NFPA 407, "Standards for Aircraft Fuel Servicing," the 2012 edition is the standard to be used;

(4)  Where the International Fire Code references NFPA 52, "Vehicular Fuel Systems Code," the 2013 edition is the standard to be used;

(5)  Where the International Fire Code references NFPA 86, "Standards for Ovens and Furnaces," the 2015 edition is the standard to be used;

(6)  Repealed;

(7)  Where the International Fire Code references NFPA 11, "Standards for Low-, Medium-, and High- Expansion Foam," the 2010 edition is the standard to be used;

(8)  Where the International Fire Code references NFPA 15, "Standard for Water Spray Fixed Systems for Fire Protection," the 2012 edition is the standard to be used;

(9)  Where the International Fire Code references NFPA 704, "Standard System for the Identification of the Hazards of Materials for Emergency Response," the 2012 edition is the standard to be used;

(10)  Where the International Fire Code references NFPA 385, "Standard for Tank Vehicles for Flammable and Combustible Liquids," the 2012 edition is the standard to be used; and

(11)  Where the International Fire Code references NFPA 58, "Liquefied Petroleum Gas Code," the 2014 edition is the standard to be used.

Source: 18 SDR 107, effective January 1, 1992; 23 SDR 32, effective September 11, 1996; 27 SDR 75, effective February 7, 2001; 33 SDR 113, effective January 2, 2007; 37 SDR 235, effective June 28, 2011; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 34-29B-2.

Law Implemented: SDCL 34-29B-2, 34-29B-10.

References: International Fire Code, 2015 edition, International Code Council. Copies may be obtained from the International Code Council, 4051 West Flossmoor Road, Country Club Hills, IL 60478; $92.00 for members and $123.00 for nonmembers. Telephone: 1-888-422-7233.

NFPA 10, "Standards For Portable Fire Extinguishers," 2013 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $45.45 for members and $50.50 for nonmembers.

NFPA 72, "National Fire Alarm Code," 2013 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $86.85 for members and $96.50 for nonmembers.

NFPA 407, "Standards for Aircraft Fuel Servicing," 2012 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $35.55 for members and $39.50 for nonmembers.

NFPA 52, "Vehicular Fuel Systems Code," 2013 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $45.45 for members and $50.50 for nonmembers;

NFPA 86, "Standards for Ovens and Furnaces," 2015 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $53.55 for members and $59.50 for nonmembers.

NFPA 11, "Standards for Low-, Medium-, and High- Expansion Foam," 2010 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $45.45 for members and $50.50 for nonmembers.

NFPA 15, "Standard for Water Spray Fixed Systems for Fire Protection," 2012 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $45.45 for members and $50.50 for nonmembers.

NFPA 704, "Standard System for the Identification of the Hazards of Materials for Emergency Response," 2012 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $41.40 for members and $46.00 for nonmembers.

NFPA 385, "Standard for Tank Vehicles for Flammable and Combustible Liquids," 2012 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $41.40 for members and $46.00 for nonmembers;

NFPA 58, "Liquefied Petroleum Gas Code," 2014 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $53.55 for members and $59.50 for nonmembers.