61:15:01:05.  Amendments to the International Building Code. Amendments to the International Building Code, 2015 edition, are as follows:

(1)  Where the International Building Code references NFPA 13, "Standard for the Installation of Sprinkler Systems," the 2013 edition is the standard to be used;

(2)  Where the International Building Code references NFPA 14, "Standard for the Installation of Standpipe and Hose Systems," the 2013 edition is the standard to be used;

(3)  Where the International Building Code references NFPA 13R, "Standard for the Installation of Sprinkler Systems in Residential Occupancies Up to and Including Four Stories in Height," the 2013 edition is the standard to be used; and

(4)  Where the International Building Code references the "International Energy Conservation Code" the 2009 edition is the standard to be used.

Source: 18 SDR 107, effective January 1, 1992; 23 SDR 32, effective September 11, 1996; 27 SDR 75, effective February 7, 2001; 33 SDR 113, effective January 2, 2007; 37 SDR 235, effective June 28, 2011; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 34-29B-2.

Law Implemented: SDCL 34-29B-2, 34-29B-10.

References: International Building Code, 2015 edition, International Code Council. Copies may be obtained from the International Code Council, 4051 West Flossmoor Road, Country Club Hills, IL 60478; $114.00 for members and $152.00 for nonmembers. Telephone: 1-888-422-7233.

NFPA 13, "Standard for the Installation of Sprinkler Systems," 2013 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $92.70 for members and $103.00 for nonmembers.

NFPA 14, "Standard for the Installation of Standpipe and Hose Systems," 2013 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $41.40 for members and $46.00 for nonmembers.

NFPA 13R, "Standard for the Installation of Sprinkler Systems in Residential Occupancies Up to and Including Four Stories in Height," 2013 edition, National Fire Protection Association. Copies may be obtained from the National Fire Protection Association, 1 Batterymarch Park, Quincy, Massachusetts 02169-9101; $41.40 for members and $46.00 for nonmembers.

International Energy Conservation Code, 2009 edition, International Code Council. Copies may be obtained from the International Code Council, 4051 West Flossmoor Road, Country Club Hills, IL 60478; $32.00 for members and $42.00 for nonmembers. Telephone: 1-888-422-7233.