61:15:01:19.  Automatic sprinkler system requirements. An automatic sprinkler system shall be installed throughout any new hotel, motel, and multi-family residence housing six or more families as specified in section 903 of the International Building Code, 2015 edition.

Source: 18 SDR 224, effective July 13, 1992; 23 SDR 32, effective September 11, 1996; 27 SDR 75, effective February 7, 2001; 33 SDR 113, effective January 2, 2007; 37 SDR 235, effective June 28, 2011; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 34-29B-2.

Law Implemented: SDCL 34-29B-2, 34-29B-10.

Reference: International Building Code, 2015 edition, International Code Council. Copies may be obtained from the International Code Council, 4051 West Flossmoor Road, Country Club, Hills, IL 60478; $114.00 for members and $152.00 for nonmembers. Telephone: 1-888-422-7233.