61:15:02:03.  Requirements for plans and specifications -- New construction. All plans and specifications for new construction shall be in accordance with the International Building Code, 2015 edition; the International Fire Code, 2015 edition; the International Mechanical Code, 2015 edition, and referenced standards, except as modified, amended, or deleted in this chapter. The cover sheet shall clearly state the occupancy group, division, and building type. Failure to designate these is cause for rejection of the plans.

Source: SL 1975, ch 16, § 1; 5 SDR 40, effective November 20, 1978; transferred from § 61:13:03:08, 8 SDR 87, 8 SDR 134, effective July 1, 1982; 12 SDR 151, 12 SDR 155, effective July 1, 1986; 18 SDR 107, effective January 1, 1992; 23 SDR 32, effective September 11, 1996; 27 SDR 75, effective February 7, 2001; 33 SDR 113, effective January 2, 2007; 37 SDR 235, effective June 28, 2011; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 13-25-2.

Law Implemented: SDCL 13-25-1.

References: International Building Code, 2015 edition, International Code Council. Copies may be obtained from the International Code Council, 4051 West Flossmoor Road, Country Club Hills, IL 60478; $114.00 for members and $152.00 nonmembers. Telephone: 1-888-422-7233.

International Fire Code, 2015 edition, International Code Council. Copies may be obtained from the International Code Council, 4051 West Flossmoor Road, Country Club Hills, IL 60478; $92.00 for members and $123.00 for nonmembers. Telephone: 1-888-422-7233.

International Mechanical Code, 2015 edition, International Code Council. Copies may be obtained from the International Code Council, 4051 West Flossmoor Road, Country Club Hills, IL 60478; $72.00 for members and $96.00 for nonmembers. Telephone: 1-888-422-7233.