61:15:03:04.  Drawing requirements for underground storage. For underground systems, the drawings shall show the location and capacity of each tank, and the class of liquid to be stored in the tanks, together with the clearances and requirements and the location of fill, gauge, and vent pipes and other openings.

Source: SL 1975, ch 16, § 1; transferred from § 61:10:03:04, 8 SDR 87, 8 SDR 134, effective July 1, 1982; 12 SDR 151, 12 SDR 155, effective July 1, 1986; 23 SDR 32, effective September 11, 1996.

General Authority: SDCL 34-29B-2, 34-38-35.

Law Implemented: SDCL 34-29B-2, 34-38-24, 34-38-25.

Cross-Reference: Conformity with national standards, § 61:15:01:01.