61:15:03:05.  Detail required on drawings or blueprints. Drawings or blueprints for installations for storage, handling, or use of flammable liquids within buildings or enclosures at any establishment or occupancy covered by this section shall show in detail whether applicable requirements are met.

Source: SL 1975, ch 16, § 1; transferred from § 61:10:03:05, 8 SDR 87, 8 SDR 134, effective July 1, 1982; 12 SDR 151, 12 SDR 155, effective July 1, 1986; 23 SDR 32, effective September 11, 1996.

General Authority: SDCL 34-29B-2, 34-38-35.

Law Implemented: SDCL 34-29B-2, 34-38-24, 34-38-25.