61:15:04:01.  Requirements for signaling devices for public school attendance centers. Public school attendance centers with fire alarm systems shall be monitored by a central, proprietary, or remote station service or a local alarm which gives audible and visual signals at a constantly attended location.

Source: 14 SDR 14, effective July 30, 1987; 23 SDR 32, effective September 11, 1996.

General Authority: SDCL 13-25-2, 13-25-13.

Law Implemented: SDCL 13-25-11 to 13-25-13.