61:15:04:03.  Alternative requirements for signaling devices for public school attendance centers. To comply with SDCL 13-25-11 to 13-25-13, inclusive, public school attendance centers may either install signaling devices that comply with § 61:15:04:01 or automatic telephone dialing devices directly connected to the local fire department dispatch system. Automatic telephone dialing devices used to transmit an emergency alarm may not be connected to any fire department telephone number unless the connection is approved by the fire chief.

Source: 14 SDR 14, effective July 30, 1987; 23 SDR 32, effective September 11, 1996.

General Authority: SDCL 13-25-2, 13-25-13.

Law Implemented: SDCL 13-25-11 to 13-25-13.