61:15:06:07.  Interior finish. Interior wall and ceiling finish for both a new and an existing group family day care home shall comply with chapter 8 of the International Building Code, 2015 edition.

Source: 18 SDR 107, effective January 1, 1992; 23 SDR 32, effective September 11, 1996; 27 SDR 75, effective February 7, 2001; 33 SDR 113, effective January 2, 2007; 37 SDR 235, effective June 28, 2011; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 34-29B-2.

Law Implemented: SDCL 34-29B-2.

Reference: International Building Code, 2015 edition, International Code Council. Copies may be obtained from the International Code Council, 4051 West Flossmoor Road, Country Club Hills, IL 60478; $114.00 for members and $152.00 for nonmembers. Telephone: 1-888-422-7233.