61:15:07:23.  Heating and cooking appliances. Heating appliances shall be installed and maintained in accordance with their listing and the International Mechanical Code, 2015 edition. Clearance from combustible material shall be maintained as set forth in the building and mechanical codes. Portable unvented fuel-fired heaters may not be used. Domestic and commercial food processing equipment shall be installed and maintained in accordance with their listing and the International Mechanical Code, 2015 edition.

Source: 18 SDR 107, effective January 1, 1992; 23 SDR 32, effective September 11, 1996; 27 SDR 75, effective February 7, 2001; 33 SDR 113, effective January 2, 2007; 37 SDR 235, effective June 28, 2011; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 13-25-2.

Law Implemented: SDCL 13-25-3, 13-25-4.

Reference: International Mechanical Code, 2015 edition, International Code Council. Copies may be obtained from the International Code Council, 4051 West Flossmoor Road, Country Club Hills, IL 60478; $72.00 for members and $96.00 for nonmembers. Telephone: 1-888-422-7233.