61:15:07:26.  Electrical motors. Electrical motors must be maintained in a manner free from accumulations of oil, dirt, waste, and other debris which will interfere with motor ventilation or create a fire hazard.

Source: 18 SDR 107, effective January 1, 1992.

General Authority: SDCL 13-25-2.

Law Implemented: SDCL 13-25-3, 13-25-4.