61:15:07:31.  Protection of gas appurtenances. Gas meters, regulators, piping, and liquefied petroleum gas tanks located in an alley, driveway, parking lot, or other area where vehicular damage may occur must be protected by barriers.

Source: 18 SDR 107, effective January 1, 1992.

General Authority: SDCL 13-25-2.

Law Implemented: SDCL 13-25-3, 13-25-4.