74:02:04:23.01.  Construction of adequate well required. Except for monitoring wells, all wells shall be constructed to comply with the definition of an adequate well in subdivision 74:02:04:20(6).

Source: 18 SDR 224, effective July 16, 1992.

General Authority: SDCL 46-1-2, 46-2-5, 46-6-6.1, 46-6-20.

Law Implemented: SDCL 46-1-2, 46-2-5, 46-2-9, 46-6-6.1, 46-6-20.