74:02:04:41.01.  Construction water requirements. Water used for drilling, development, or rehabilitation purposes, other than from the well itself, must be chlorinated clear water containing a free chlorine residual at the time of use.

Source: 18 SDR 224, effective July 16, 1992.

General Authority: SDCL 46-1-2, 46-2-5, 46-6-6.1, 46-6-10.

Law Implemented: SDCL 46-1-2, 46-2-9, 46-6-6.1, 46-6-10.

Note: Best management practices as defined in subdivision 74:52:01:01(6) should be taken to reduce the potential of chlorinated waters reaching surface waters.