74:02:04:58.01.  Disinfection requirements. Any water supply well constructed, rehabilitated, or rebuilt shall be disinfected with chlorine in a manner outlined in the "Recommended Procedure for Chlorine Disinfection of Water Wells." (See Appendix H at the end of this chapter.) The pump installer is responsible for chlorinating any water supply well upon which the installer works.

Source: 18 SDR 224, effective July 16, 1992.

General Authority: SDCL 46-2-5, 46-6-6.1, 46-6-20.

Law Implemented: SDCL 46-1-2, 46-2-9, 46-6-6.1, 46-6-20.

Note: Best management practices as defined in subdivision 74:52:01:01(6) should be taken to reduce the potential of chlorinated water reaching surface waters.