74:02:04:70.01.  Requirements for temporary abandonment of wells. If verification can be provided that a well was constructed in accordance with this chapter, a well removed from service and not permanently abandoned may be temporarily abandoned by sealing the top with a watertight cap.

Source: 18 SDR 224, effective July 16, 1992.

General Authority: SDCL 46-2-5, 46-6-6.1, 46-6-20, 46-6-27.

Law Implemented: SDCL 46-1-2, 46-2-9, 46-6-6.1, 46-6-18, 46-6-20, 46-6-27.