74:04:01:02.  Written approval required to implement fluoridation. Written approval must be obtained from the department prior to the implementation of the addition of fluoride ion to public water supplies. Plans and specifications shall be submitted as prescribed by chapter 74:53:05 unless otherwise waived by the department.

Source: SL 1975, ch 16, § 1; transferred from § 34:07:01:02, effective July 1, 1979; 13 SDR 129, 13 SDR 141, effective July 1, 1987; 42 SDR 97, effective January 4, 2016.

General Authority: SDCL 34-24A-2.

Law Implemented: SDCL 34-24A-2, 34-24A-3.