74:04:09:11.  Sample results from the water source required. Sample results from the water source as set forth in chapter 74:04:05 must be submitted before system start-up. A certificate of approval may not be issued until the sample results have been evaluated by the department.

Source: 25 SDR 75, effective November 18, 1998.

General Authority: SDCL 34A-3A-25.

Law Implemented: SDCL 34A-3A-25.