74:04:09:15.  New water system capacity approval. After the department has completed the capacity and plans and specifications review and has determined the system has adequate capacity, the department shall notify the applicant, in writing, that construction may begin.

Source: 25 SDR 75, effective November 18, 1998.

General Authority: SDCL 34A-3A-25.

Law Implemented: SDCL 34A-3A-25.