74:04:09:23.  Certificate of approval validity. After a system has been issued a certificate of approval, the certificate is valid only if the system is operated according to the operating plan, operations and maintenance manual, and plans and specifications. If modifications are to be made to the system that will alter any of the above items, written notification shall be made to the department for approval. If the items listed in §§ 74:04:09:06 and 74:04:09:09 are updated to reflect the modifications made to the system, the certificate of approval remains valid. If modifications are made to the water system without updating the operating plan, plans and specifications, and operations and maintenance manual or notifying the department, the certificate of approval may be revoked as set forth in § 74:04:09:24.

Source: 25 SDR 75, effective November 18, 1998.

General Authority: SDCL 34A-3A-25.

Law Implemented: SDCL 34A-3A-25.