74:04:11:04.  Significant deficiency -- Response by system. A Type H public water system must respond in writing no later than 45 days after the receipt of a sanitary survey report describing how and on what schedule the system will address any significant deficiencies identified in the sanitary survey report.

Source: 29 SDR 80, effective December 10, 2002; 36 SDR 111, effective January 11, 2010.

General Authority: SDCL 34A-3A-25.

Law Implemented: SDCL 34A-3A-25(4).