74:04:12:32.  Subpart Q -- Public notification of drinking water violation. The requirements for public notification of drinking water violations found in 40 C.F.R. Part 141 Subpart Q (July 1, 2018) are hereby incorporated by reference except for 40 C.F.R. § 141.202(b).

Source: 31 SDR 21, effective August 24, 2004; 36 SDR 111, effective January 11, 2010; 45 SDR 159, effective July 1, 2019.

General Authority: SDCL 34A-3A-3.

Law Implemented: SDCL 34A-3A-3(2).