74:27:12:02.  Design criteria. Facilities must be designed and constructed to protect human health and prevent degradation of the environment, including ambient groundwater quality, surface water quality, and air quality. Notwithstanding the provisions of § 74:27:12:17, the design must ensure that the concentration values of 40 C.F.R. Part 258, as published in 56 Fed. Reg. 51,022 (October 9, 1991) are not exceeded at the relevant point of compliance.

Source: 17 SDR 8, effective July 26, 1990; 19 SDR 186, effective June 10, 1993.

General Authority: SDCL 34A-6-1.6.

Law Implemented: SDCL 34A-6-1.6.