74:27:12:19.  Groundwater monitoring systems. An applicant must incorporate a groundwater monitoring system into the design of the MSWLF. The secretary may require groundwater monitoring systems for other facilities. Groundwater monitoring systems must meet the applicable provisions of chapter 74:27:19.

The applicant shall submit a groundwater monitoring plan for the disposal facility to the secretary for approval. It must, at a minimum, detail monitoring systems, monitoring parameters, and monitoring frequencies.

Source: 17 SDR 8, effective July 26, 1990; 19 SDR 186, effective June 10, 1993; 20 SDR 56, effective October 24, 1993.

General Authority: SDCL 34A-6-1.6.

Law Implemented: SDCL 34A-6-1.6, 34A-6-1.7.