74:28:25:03.  Assessment of existing tank system's integrity. For each existing tank system that does not have secondary containment meeting the requirements of 40 C.F.R. § 264.193, as incorporated by § 74:28:21:01.01, the owner or operator must determine that the tank system is not leaking or unfit for use.

The owner or operator shall obtain and keep on file at the facility a written assessment reviewed and certified by an independent, registered professional engineer licensed to do business in this state, in accordance with 40 C.F.R. § 270.11(d), as incorporated by § 74:28:21:01.01, that attests to the tank system's integrity by January 12, 1988, for HSWA tanks, and by September 14, 1990, for non-HSWA tanks.

The owner or operator of a tank system that stores or treats material that becomes hazardous waste subsequent to July 14, 1986, for HSWA tanks, and subsequent to June 7, 1989, for non-HSWA tanks, shall conduct this assessment within twelve months after the date that the waste becomes a hazardous waste.

For existing tank systems or existing components, a tank system or component installation is considered to have commenced if the owner or operator has obtained all federal, state, and local approvals or permits necessary to begin physical construction of the site or installation of the tank system and if either:

(1)  A continuous on-site physical construction or installation program has begun; or

(2)  The owner or operator has entered into contractual obligations, which cannot be canceled or modified without substantial loss, for physical construction of the site or installation of the tank system to be completed within one year.

Source: 24 SDR 11, effective August 5, 1997; 26 SDR 26, effective August 29, 1999; 27 SDR 59, effective December 12, 2000; 28 SDR 24, effective August 29, 2001; 29 SDR 21, effective August 28, 2002; 30 SDR 26, effective September 1, 2003; 31 SDR 23, effective August 29, 2004; 34 SDR 68, effective September 13, 2007; 35 SDR 88, effective October 27, 2008; 36 SDR 44, effective September 28, 2009; 38 SDR 58, effective October 18, 2011; 40 SDR 61, effective October 10, 2013; 44 SDR 43, effective September 12, 2017; 46 SDR 26, effective September 3, 2019; 50 SDR 19, effective August 28, 2023.

General Authority: SDCL 34A-11-9.

Law Implemented: SDCL 34A-11-12, 34A-11-13, 34A-11-14.