20:01:06:02.  Weights required for testing up to 10,000 pounds capacity scales. A registered service agent shall have a minimum of 3,000 pounds of certified test weights to check a scale up to 10,000 pounds capacity. For smaller capacity scales such as counter scales, prepackaging scales, or gram scales, appropriate test weights such as a 31 pound test kit with a fractional ounce kit, decimal kit, or gram weight kit or combination thereof is required.

Source: 7 SDR 14, effective August 21, 1980; 12 SDR 151, 12 SDR 155, effective July 1, 1986; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 37-21A-11.

Law Implemented: SDCL 37-21A-2, 37-21A-5 to 37-21A-7.