20:01:06:03.  Weights required for testing scales of 10,000 to 60,000 pounds capacity, inclusive. For scales with a capacity of 10,000 to 60,000 pounds, inclusive, a minimum of 10,000 pounds of certified test weight is required. For vehicle scales, 10,000 pounds of certified test weight with a gross weight of a test unit equaling or exceeding 20,000 pounds is required.

Source: 7 SDR 14, effective August 21, 1980; 11 SDR 50, effective October 14, 1984; 12 SDR 151, 12 SDR 155, effective July 1, 1986; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 37-21A-11.

Law Implemented: SDCL 37-21A-2, 37-21A-5 to 37-21A-7.