20:01:06:03.01.  Weights required for testing scales over 60,000 pounds capacity. For scales with a capacity in excess of 60,000 pounds, a minimum of 20,000 pounds of certified test weight is required. For vehicle scales, 20,000 pounds of test weight with a gross certified test weight of a test unit equaling or exceeding 30,000 pounds is required.

Source: 11 SDR 50, effective October 14, 1984; 12 SDR 151, 12 SDR 155, effective July 1, 1986; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 37-21A-11.

Law Implemented: SDCL 37-21A-2, 37-21A-5 to 37-21A-7.