20:01:06:06.  Standards for testing refined fuel meters. For testing refined fuel meters, the service agent or agency shall have a state approved or NIST traceable field test standard of a minimum of 100 gallons.

Source: 7 SDR 14, effective August 21, 1980; 12 SDR 151, 12 SDR 155, effective July 1, 1986; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 37-21A-11.

Law Implemented: SDCL 37-21A-2, 37-21A-5 to 37-21A-7.