20:01:06:07.  Standards for testing liquid petroleum gas meters. For testing liquid petroleum gas meters, a service agent or a service agency shall have a state approved or NIST traceable liquid petroleum gas prover of a minimum quantity of 25 gallons.

Source: 7 SDR 14, effective August 21, 1980; 12 SDR 151, 12 SDR 155, effective July 1, 1986; 43 SDR 56, effective October 17, 2016; 48 SDR 18, effective August 30, 2021.

General Authority: SDCL 37-21A-11.

Law Implemented: SDCL 37-21A-2, 37-21A-5 through 37-21A-7.