20:01:06:09.  Zero tolerance requirement. All weighing and measuring equipment placed in service by a service agent or service agency shall be set as close to zero tolerance as possible.

Source: 7 SDR 14, effective August 21, 1980; 12 SDR 151, 12 SDR 155, effective July 1, 1986; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 37-21A-11.

Law Implemented: SDCL 37-21A-2, 37-21A-5 to 37-21A-7.