20:01:07:05  Approval date required on measuring devices. All weights, weight sets, measures, or devices used by a service agent as weighing or measuring devices shall show their approval date and the jurisdiction issuing approval.

Source: 7 SDR 14, effective August 21, 1980; 11 SDR 50, effective October 14, 1984; 12 SDR 151, 12 SDR 155, effective July 1, 1986; 43 SDR 56, effective October 17, 2016.

General Authority: SDCL 37-21-5.

Law Implemented: SDCL 37-20-2 to 37-20-4.