CHAPTER 74:53:01

INDIVIDUAL AND SMALL ON-SITE WASTEWATER SYSTEMS

Section

74:53:01:01		Definitions.

74:53:01:02		Compliance with wastewater system requirements.

74:53:01:03		Review of plans and specifications prior to construction.

74:53:01:04		Existing systems not affected by this chapter -- Exceptions.

74:53:01:05		Existing subdivisions and developments exempted from lot size requirements -- Proviso.

74:53:01:06		On-site wastewater systems to comply with rules.

74:53:01:07		On-site wastewater systems prohibited when public wastewater systems are available.

74:53:01:08		Wastewater to receive primary treatment prior to discharge to absorption system.

74:53:01:09		Types of treatment available to water-carriage wastewater systems.

74:53:01:10		Unconventional systems to be used when water or electrical systems unavailable.

74:53:01:11		Abandoned systems to be disconnected, plugged, dismantled, pumped, removed, and filled.

74:53:01:12		Wastewater not allowed to surface on ground or enter state waters -- Exception.

74:53:01:13		Wastewater not to be discharged into unused wells, gravel pits, or rock formations.

74:53:01:14		On-site wastewater treatment system design and type considerations.

74:53:01:15		Separation required above groundwater or geological formations.

74:53:01:16		Minimum lot size required.

74:53:01:17		Drainage not to enter wastewater systems.

74:53:01:18		Cesspools and pit privies prohibited.

74:53:01:19		Distance between on-site wastewater system components and pertinent ground features.

74:53:01:20		Wastewater flow capacity requirements of residential and nonresidential establishments.

74:53:01:21		Alternative method of determining wastewater flow capacity requirements for commercial or public service establishments.

74:53:01:22		Alternative method of determining wastewater flow capacity requirements for public parks and marinas.

74:53:01:23		Design and construction requirements for septic tanks.

74:53:01:24		Installation requirements for septic tanks.

74:53:01:25		Minimum capacities for septic tanks.

74:53:01:26		Requirements for holding tanks.

74:53:01:27		Dosing or pressure systems required when absorption systems are large.

74:53:01:28		Distribution of septic tank effluent to absorption fields.

74:53:01:29		Percolation tests required prior to approval and installation of absorption system.

74:53:01:30		Manner for conducting percolation test.

74:53:01:31		Determining required absorption system area.

74:53:01:32		Alternative method of determining required absorption trench system area.

74:53:01:33		Absorption or alternative water-carriage system permitted under certain circumstances.

74:53:01:34		Seepage pits allowable.

74:53:01:35		Requirements for an absorption trench.

74:53:01:36		Requirements for an absorption bed.

74:53:01:37		Requirements for a mound or evapotranspiration system.

74:53:01:38		Requirements for a graywater system.

74:53:01:39		Requirements for vault privies.

74:53:01:40		Requirements for unconventional systems.

74:53:01:41		Disposal of septage.

74:53:01:42		Secretary authorized to inspect on-site wastewater systems.

74:53:01:43		Protection of potable water supply.

74:53:01:44		Variances.