74:54:01:05.  Potential toxic pollutants. Groundwater shall not contain potential toxic pollutants. Potential toxic pollutants, other than those listed in Table 1 and Table 2 of § 74:54:01:04, must be nondetectable in groundwater at detection limits of the currently acceptable sampling and analytical techniques as approved by the secretary in § 74:54:01:06 until a maximum contaminant level (MCL) or health advisory level is set by the EPA.

Source: 14 SDR 86, effective December 24, 1987; 18 SDR 128, effective February 11, 1992; transferred from § 74:03:15:04, July 1, 1996; 31 SDR 62, effective November 7, 2004.

General Authority: SDCL 34A-2-11.

Law Implemented: SDCL 34A-2-10, 34A-2-11, 34A-2-22.