74:54:02:09.  Board approval of application for groundwater discharge plan. The board may conditionally approve the groundwater discharge plan application by issuing all applicable permits described in §§ 74:54:02:11 and 74:54:02:13 under the following conditions:

(1)  The application for a groundwater discharge plan is procedurally complete;

(2)  The ambient groundwater quality will not be degraded or a water quality variance permit can be issued to degrade the ambient water quality to the standards of §§ 74:54:01:04 and 74:54:01:05; and

(3)  The implementation of the proposed monitoring plan is adequate for compliance monitoring to ensure beneficial uses will not be impaired and there will be no hazard to human health.

Source: 14 SDR 86, effective December 24, 1987; transferred from § 74:03:16:09, July 1, 1996.

General Authority: SDCL 34A-2-28, 34A-2-30.

Law Implemented: SDCL 34A-2-31.