74:54:02:26.  Determination of probable out-of-compliance status. Determination of probable out-of-compliance status shall be based on the sample value for any one groundwater contaminant that exceeds the permitted allowable limit, within the established laboratory quality assurance, in any one sample from the compliance monitoring point.

Source: 14 SDR 86, effective December 24, 1987; transferred from § 74:03:16:24, July 1, 1996.

General Authority: SDCL 34A-2-28, 34A-2-30.

Law Implemented: SDCL 34A-2-49.