74:55:01:23.  Criteria for underground source of drinking water. An underground source of drinking water shall be protected from underground injection. No owner or operator may cause or allow any movement of injected fluid into an underground source of drinking water. An aquifer or part of an aquifer is an underground source of drinking water if it meets any one of the criteria in subdivision 74:55:01:01(57).

Source: 8 SDR 71, effective December 24, 1981; 11 SDR 30, effective August 30, 1984; 13 SDR 129, 13 SDR 141, effective July 1, 1987; transferred from § 74:03:11:23, July 1, 1996; 34 SDR 279, effective May 12, 2008.

General Authority: SDCL 34A-2-93(15).

Law Implemented: SDCL 34A-2-10, 34A-2-11.