74:55:01:38.  Monitor well requirements in formation not considered underground source of drinking water. If injection is into a formation in which the water is greater than 10,000 milligrams per liter of total dissolved solids, monitor wells shall be required in the formation by the secretary.

Source: 8 SDR 71, effective December 24, 1981; 13 SDR 129, 13 SDR 141, effective July 1, 1987; transferred from § 74:03:11:38, July 1, 1996; 34 SDR 279, effective May 12, 2008.

General Authority: SDCL 34A-2-93(15).

Law Implemented: SDCL 34A-2-44.