CHAPTER 74:56:01

UNDERGROUND STORAGE TANKS (UST)

Section

74:56:01:01		Definitions.

74:56:01:02		Underground storage tank defined.

74:56:01:03		Applicability.

74:56:01:04		Performance standards for new UST systems -- General requirements.

74:56:01:05		Performance standards for new UST systems -- Tanks.

74:56:01:06		Performance standards for new UST systems -- Piping.

74:56:01:07		Performance standards for new UST systems -- Spill and overfill protection.

74:56:01:08		Performance standards for new UST systems -- Installation requirements and submission of proof of compliance with requirements.

74:56:01:09		Upgrading of existing UST systems -- General requirements and deadlines.

74:56:01:10		Upgrading of existing USTs -- Specific requirements.

74:56:01:10.01	Replacement of existing UST systems -- Tanks.

74:56:01:10.02	Replacement of existing UST systems -- Piping.

74:56:01:10.03	Installation of under-dispenser sumps.

74:56:01:11		Notification requirements for UST systems.

74:56:01:12		Completion of certification of compliance form for UST systems.

74:56:01:13		Spill and overfill control.

74:56:01:14		Operation and maintenance of cathodic protection.

74:56:01:15		Operation and maintenance of cathodic protection -- Criteria for taking tests.

74:56:01:16		Operation and maintenance of cathodic protection -- Recordkeeping.

74:56:01:17		Compatibility.

74:56:01:18		Repairs allowed -- General requirements.

74:56:01:19		Repairs allowed -- Lining.

74:56:01:20		Repairs allowed -- Fiberglass-reinforced plastic tank systems.

74:56:01:21		Repairs allowed -- Piping.

74:56:01:22		Repairs allowed -- Recordkeeping.

74:56:01:23		Maintenance and availability of records.

74:56:01:23.01	Periodic testing of spill prevention equipment and containment sumps -- General requirements.

74:56:01:23.02	Periodic operation and maintenance walkthrough inspections.

74:56:01:24		Release detection for all UST systems -- General requirements and deadlines.

74:56:01:25		Release detection requirements for regulated substance UST systems -- Excluding hazardous substances.

74:56:01:26		Release detection requirements -- Tank tightness testing and inventory reconciliation.

74:56:01:27		Release detection requirements -- Vapor monitoring.

74:56:01:28		Release detection requirements -- Groundwater monitoring.

74:56:01:29		Release detection requirements -- Automatic tank monitoring.

74:56:01:30		Release detection requirements -- Secondary containment with interstitial monitoring.

74:56:01:31		Release detection requirements -- Manual tank monitoring.

74:56:01:32		Release detection requirements -- Hazardous substance UST systems.

74:56:01:33		Release detection requirements -- Other.

74:56:01:34		Release detection requirements for pressure piping.

74:56:01:35		Release detection requirements for suction piping.

74:56:01:36		Release detection requirements for piping -- Regulated hazardous substances.

74:56:01:37		Release detection requirements for piping -- Authority of department to approve.

74:56:01:38		Recordkeeping.

74:56:01:38.01	Training of owners and operators.

74:56:01:39		Repealed.

74:56:01:40		Reporting of suspected releases.

74:56:01:41		Reporting of spills and overfills.

74:56:01:42		Release investigation and confirmation.

74:56:01:43		Off-site impacts and source investigation.

74:56:01:44		General requirements for corrective action for releases from UST systems.

74:56:01:45		Initial abatement requirements and procedures for releases from UST systems.

74:56:01:46		Additional abatement requirements for hazardous substances.

74:56:01:47		Free product removal.

74:56:01:48		Additional site investigation for releases from UST systems.

74:56:01:49		Soil and groundwater cleanup for releases from UST systems.

74:56:01:50		Repealed.

74:56:01:51		Reporting of hazardous substance releases from UST systems.

74:56:01:52		Temporary removal from use.

74:56:01:53		Temporary closure.

74:56:01:53.01	Bringing UST systems back into service.

74:56:01:54		Permanent closure.

74:56:01:55		Postclosure requirements.

74:56:01:56		Failure to comply.

74:56:01:57		Field constructed tanks/airport hydrant systems.