74:56:01:44.  General requirements for corrective action for releases from UST systems. In response to a suspected or confirmed release from the UST system, each owner or operator of an UST system shall comply with the requirements of §§ 74:56:01:45 to 74:56:01:50, inclusive. These requirements apply to all UST systems containing petroleum, hazardous substances, or mixtures of petroleum and hazardous substances.

Source: 14 SDR 76, effective November 29, 1987; transferred from § 74:03:28:24, 18 SDR 62, effective October 10, 1991; transferred from § 74:03:28:18, July 1, 1996.

General Authority: SDCL 34A-2-93, 34A-2-99.

Law Implemented: SDCL 34A-2-98, 34A-2-99.

Editor's Note: Section 74:56:01:50 was repealed effective February 24, 1997, by rule making recorded at 23 SDR 131.