74:55:01:60.03.  Postclosure operation of monitoring systems. During the postclosure period, the operator shall continue surface and ground water quality monitoring in accordance with the approved postclosure plan or water quality monitoring plan. The results of all water quality monitoring and laboratory analyses must be included in the annual postclosure report.

Source: 34 SDR 279, effective May 12, 2008.

General Authority: SDCL 34A-2-93(15).

Law Implemented: SDCL 34A-2-44.