10:02:05:07.  WaterSense qualified defined. As used in this chapter, the term, WaterSense qualified, means that a product earned the WaterSense label by meeting the water efficiency requirements set forth in one of the following published WaterSense product specifications established by the EPA:

(1)  WaterSense Specification for High-Efficiency Lavatory Faucet Specification, October 1, 2007;

(2)  WaterSense Specification for Tank-Type High-Efficiency Toilet Specification, January 24, 2007;

(3)  WaterSense Specification for Flushing Urinals, August 14, 2009; or

(4)  WaterSense Specification for Showerheads, February 9, 2010.

Source: 37 SDR 111, effective December 7, 2010.

General Authority: SDCL 5-18A-38.

Law Implemented: SDCL 5-18A-38.

Reference: WaterSense, U.S. Environmental Protection Agency, Office of Wastewater Management (4204M), 1200 Pennsylvania Avenue NW, Washington, D.C. 20460. Free copies of the WaterSense specifications are available on the internet at http://www.epa.gov/watersense/products/index.html.